	
[image: image1.wmf]ethanmarsh

www.ethanmarshdesign.com


	
[image: image2.wmf]ethan marsh

534 hanford place

westfield, nj 07090

(908) 209-9019

mail@ethanmarshdesign.com



	
	

	Re:
	Revised Scope of Work
	To:
	Chuck & Jennifer Meyo


	Date:
	January 30, 2004
	Address:
	119 East Dudley Avenue
Westfield, NJ  07090

	Project No.:
	03-010 – Meyo Residence
	
	


Dear Mr. & Mrs. Meyo,

I am pleased to submit this proposal for architectural design services for the addition to your residence at 119 East Dudley Avenue.  Based on our meeting on November 7, 2003, the scope of the work involved in the project is as follows:

ENTIRE HOUSE
· Re-paint all wood finishes at exterior of entire house.
· Add new wood moulding to match existing at all new interior spaces.
· Add new exterior electrical work as required by new addition to house.
· Remove and replace all asphalt roof shingles and provide new roofing for all new additions.
 

 

BASEMENT
· Create a  mudroom area at side entrance landing and at basement floor.  Refinish floors and add partitions to enclose mudroom area inside basement door area.  Create additional storage space adjacent to stair.
· Add crawl space for new kitchen addition.  Foundation wall to have a brick veneer at exterior face.
· Strip all paint off all exposed existing foundation wall brick.  Repoint brick as required.
· Add new foundations as required for new exterior stairs and sitework.
 

 

FIRST FLOOR
· Add new raised stoop at rear of house with a stone finish.
· Add new stone patio at rear of house at ground level.
· Re-build exterior front and side stair and add new railings.
· Add new ceiling fans to front porch.
 

KITCHEN
· Remove all existing cabinetry and appliances for new Kitchen addition.
· Relocate Powder Room to the existing Pantry adjacent to Side Stair. Add new toilet and lavatory, plumbing, walls, door and finishes as required.
· Demolish wall behind existing oven to possibly reveal existing stair.  Repair existing stair and restore access from to the main stair landing.  Add new wood railings.  Patch, prime and paint exisitng walls as required.
· Remove North and East walls and extend rear corner of house for new Kitchen addition. Provide new CMU foundation to support new wood-frame addition.  New exterior wall finish to be primed and painted wood shingles with wood trim to match existing.  New interior wall finish to be primed and painted gypsum wall board.  All exterior walls to be insulated.  Provide new windows at new rear exterior wall.  Provide new hardwood floor finish in new Kitchen space.
· Add new kitchen cabinetry with a center island and countertops as selected by owner.  New Kitchen appliances to include two new sinks, new oven and range and new microwave.  
· Patch wall at existing pass-through at existing breakfast nook and remove all built-in seating.  
· Add new Sun Room at rear of house with access to new patio.  Sun Room walls to be fully glazed with a door for access to new rear patio.  Floor finish to be tile.
· Patch existing door from Kitchen to Dining Room.  Add new wet bar with high and low cabinetry and a bar sink.  Demolish existing wall behind Dining Room pantry to provide new access from Dining Room to Kitchen.
 

FAMILY ROOM
· Redesign and rebuild existing fireplace with new mantle and casework.
· Replace all windows with new windows and patch walls as required.
· Paint all walls and ceilings.
· Remove existing exterior door and repair and paint moulding.
· Remove existing carpet and install new hardwood floor.
 

 

SECOND FLOOR
· Build out roofs over two front dormers to a gabled end.
· Remove and replace existing windows at existing West side balcony.  Refinish all wall, floor and ceiling finishes.
 

MASTER BEDROOM
· Add new Master Bedroom Suite at rear of house with new bathroom, walk-in closets and access to new balcony.  
· Remove North wall and extend rear of house for new Master Bedroom addition.  Built new floor space over existing Family Room for new Master Bedroom.  New exterior wall finish to be primed and painted wood shingles with wood trim to match existing.  New interior wall finish to be primed and painted gypsum wall board.  All exterior walls to be insulated.  Provide new windows as per design.  Provide new floor finish as per design.  Provide new roofs as required by new addition.
· Add new Master Bathroom in Suite.  Provide new 2 lavatories, new glass shower and new bathtub.  Provide new toilet in a separate toilet room.  All walls and floors to have new tile finish. 
 

BALCONY
· Add new balcony at rear of house.  
· Add wood frame pergola at Northwest corner of house.  
· New Balcony floor finish to be wood.  Provide new wood railngs as required.
 

 

ATTIC
· Remove and replace all gypsum wallboard.  Prime and paint all new wall surfaces and provide new mouldings as per design.
· Provide new wood floor finish as per design throughout.
· Add new Powder Room in Office. Add new toilet and lavatory, plumbing, walls, door and finishes as required.
· Add new knee wall at Southwest corner of Attic to create a new storage space.  Provide new door for access to storage space.
· Add new dormer at rear of house with a new exterior door for access to new balcony.  New exterior wall finish to be primed and painted wood shingles with wood trim to match existing.  New interior wall finish to be primed and painted gypsum wall board.  All exterior walls to be insulated.
· Install new Balcony at rear of house.  New Balcony floor finish to be wood.  Provide new wood railngs as required.
 

If you have any questions regarding this document please contact me.

Sincerely,

Ethan Marsh

PAGE  
2

_1122475583.bin

_1122474910.bin

